{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["List1","List2","List3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"List1","index":0,"n_rows":28,"n_cols":6,"rows_kept":28,"flags":["formulas_cached_only"]}
["Název","Katalog. Číslo","Skupina rozvaděčů","Popis","Pro typ","Cena"]
["V-ZAS 0.0.1.1 IP44","V-ZAS0011IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 1xzásuvka 5k/16A/400V","V-ZAS","1636,-"]
["V-ZAS 0.1.0.1 IP44","V-ZAS0101IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 1xzásuvka 4k/32A/400V","V-ZAS","1770,-"]
["V-ZAS 1.0.0.1 IP44","V-ZAS1001IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 1xzásuvka 5k/32A/400V","V-ZAS","1785,-"]
["V-ZAS 0.0.1.0 IP44","V-ZAS0010IP44","Zásuvkové rozvodnice","1xzásuvka 5k/16A/400V","V-ZAS","1491,-"]
["V-ZAS 1.0.0.0 IP44","V-ZAS1000IP44","Zásuvkové rozvodnice","1xzásuvka 5k/32A/400V","V-ZAS","1641,-"]
["V-ZAS 0.1.0.0 IP44","V-ZAS0100IP44","Zásuvkové rozvodnice","1xzásuvka 4k/32A/400V","V-ZAS","1625,-"]
["V-ZAS 0.0.0.2 IP44","V-ZAS0002IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V","V-ZAS","1410,-"]
["V-ZAS 0.0.1.2 IP44","V-ZAS0012IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 1xzásuvka 4k/32A/400V","V-ZAS","2157,-"]
["V-ZAS 0.1.0.2 IP44","V-ZAS0102IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 1xzásuvka 4k/32A/400V","V-ZAS","2280,-"]
["V-ZAS 1.0.0.2 IP44","V-ZAS1002IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 1xzásuvka 5k/32A/400V","V-ZAS","2305,-"]
["V-ZAS 0.1.1.1 IP44","V-ZAS0111IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 1xzásuvka 5k/16A/400V, 1xzásuvka 4k/32A/400V","V-ZAS","2628,-"]
["V-ZAS 1.0.1.1 IP44","V-ZAS1011IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 1xzásuvka 5k/16A/400V, 1xzásuvka 5k/32A/400V","V-ZAS","2644,-"]
["V-ZAS 0.0.2.1 IP44","V-ZAS0021IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 2xzásuvka 5k/16A/400V","V-ZAS","2608,-"]
["V-ZAS 0.2.0.1 IP44","V-ZAS0201IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 2xzásuvka 4k/32A/400V","V-ZAS","2705,-"]
["V-ZAS 2.0.0.1 IP44","V-ZAS2001IP44","Zásuvkové rozvodnice","1xzásuvka 16A/230V, 2xzásuvka 5k/32A/400V","V-ZAS","2735,-"]
["V-ZAS 0.0.2.2 IP44","V-ZAS0022IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 2xzásuvka 5k/16A/400V","V-ZAS","2721,-"]
["V-ZAS 0.2.0.2 IP44","V-ZAS0202IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 2xzásuvka 4k/32A/400V","V-ZAS","3006,-"]
["V-ZAS 2.0.0.2 IP44","V-ZAS2002IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 2xzásuvka 5k/32A/400V","V-ZAS","3045,-"]
["V-ZAS 0.1.1.2 IP44","V-ZAS0112IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 1xzásuvka 5k/16A/400V, 1xzásuvka 4k/32A/400V","V-ZAS","2939,-"]
["V-ZAS 1.0.1.2 IP44","V-ZAS1012IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 1xzásuvka 5k/16A/400V, 1xzásuvka 5k/32A/400V","V-ZAS","2970,-"]
["V-ZAS 0.0.0.4 IP44","V-ZAS0004IP44","Zásuvkové rozvodnice","4xzásuvka 16A/230V","V-ZAS","1727,-"]
["V-ZAS 0.1.1.3 IP44","V-ZAS0113IP44","Zásuvkové rozvodnice","3xzásuvka 16A/230V, 1xzásuvka 5k/16A/400V, 1xzásuvka 4k/32A/400V","V-ZAS","3702,-"]
["V-ZAS 1.0.1.3 IP44","V-ZAS1013IP44","Zásuvkové rozvodnice","3xzásuvka 16A/230V, 1xzásuvka 5k/16A/400V, 1xzásuvka 5k/32A/400V","V-ZAS","3733,-"]
["V-ZAS 0.0.2.3 IP44","V-ZAS0023IP44","Zásuvkové rozvodnice","3xzásuvka 16A/230V, 2xzásuvka 5k/16A/400V","V-ZAS","3694,-"]
["V-ZAS 0.2.0.3 IP44","V-ZAS0203IP44","Zásuvkové rozvodnice","3xzásuvka 16A/230V, 2xzásuvka 4k/32A/400V","V-ZAS","3772,-"]
["V-ZAS 2.0.0.3 IP44","V-ZAS2003IP44","Zásuvkové rozvodnice","3xzásuvka 16A/230V, 2xzásuvka 5k/32A/400V","V-ZAS","3803,-"]
["V-ZAS 0.1.2.2 IP44","V-ZAS0122IP44","Zásuvkové rozvodnice","2xzásuvka 16A/230V, 2xzásuvka 5k/16A/400V, 1xzásuvka 4k/32A/400V","V-ZAS","3827,-"]

{"sheet":"List2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"List3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}